## Slide 1: Water Treatment Process Android Application
Nicholas Foggia
Chun-Wei Tseng

## Slide 2: The Process

## Slide 3: The Algorithm
Start:
Check pH
Release Water
Determine
to add
Acid or Base
Add Acid/Base Accordingly
Process Finished
Pump Up One Gallon
Calculate Difference

## Slide 4: The Applications
Two Android Applications
    Process Application
    Teaching Application

## Slide 5: Process Application
SCADA
  Supervisory Controls
  Data Acquisition

## Slide 6: Supervisory Controls
Manual
Automatic

## Slide 7: Manual Controls

## Slide 8: Automatic Controls

## Slide 9: Data Acquisition

## Slide 10: Teaching Application

## Slide 11: The Code
MVC Design
  Model View Controller
Modbus Connection
Data Collection
Process Cycle & Control

## Slide 12: Modbus Connection
Three Threads
  PLC Read
    100ms
  PLC Write
    Upon request
  Arduino Read
    100ms Timer
  Arduino Writing

## Slide 13: Data Collection
Singleton

## Slide 14: Process Cycle and Control
Sending Request for Address
User Inputs
Asleep/Delay Thread
Accuracy Check

## Slide 15: Modbus Challenges
Modbus Connection
  TCP Connection
  Socket Timeout Exception
    Collection Limitation

## Slide 16: Data Collection Challenges
Data Collection
  Synchronize Data
  Event Driven

## Slide 17: Process Cycle Challenges
Process Cycle & Control
  Testing
    Acid/Base Needed
    Pump Time